| chapter 8 | - Titration Step-By-Step | BLM 8.3.2 |
| --- | --- | --- |
| - overhead |  |  |

- A sample to be analyzed is measured in a graduated or volumetric pipette and delivered to an Erlenmeyer flask.

- A few drops of the appropriate indicator are added to the sample being analyzed.

- After taking an initial reading of the volume of titrant in the burette, the titrant is added, slowly, to the sample in the Erlenmeyer flask, while the sample is swirled.

- The endpoint of the titration occurs when the indicator colour changes dramatically. With a well-chosen indicator, the difference in the volumes of titrant required to reach the endpoint and the equivalence point should differ only by one drop of titrant (approximately 
0.05 mL).