| chapter 8 | - Acid-Base Titration Answer Key | BLM 8.3.1A |
| --- | --- | --- |
| - answer key |  |  |

burette – a graduated glass tube with a tap at one end; used to measure the volume of liquid during a titration

burette clamp – a metal apparatus that mounts on the retort stand to hold the burette in place

retort stand – a narrow rod supported vertically on a flat, rectangular base; used to hold the burette upright above the Erlenmeyer flask

titrant – solution that is being added and having its volume measured during a titration

tap (or stopcock) – a valve that opens and closes to control the flow of titrant out of the burette

Erlenmeyer flask – a cone-shaped glass container with a narrow neck and a flat, circular base; contains the solution to be titrated

A titration setup

Additional Titration Terminology

| Equivalence point | stage of titration at which stoichiometrically equivalent amounts of reactant have been consumed |
| --- | --- |
| Endpoint | the point at which the indicator changes colour |
| Standardization | determination of the concentration of a solution by analyzing its reaction with a solution of known concentration (a standard) |
| pH | the negative logarithm (base-ten) of the molar concentration of hydronium ions in a solution |
| Indicator | a substance that changes colour over a given pH range; usually a weak, monoprotic acid |
| Titration Curve | a plot of the pH of a reaction mixture versus the volume of titrant added |